CS6520W-SE

Nitrate (nitrate ion) electrode

Specification parameters：

Type: PVC membrane ion-selective electrode

Range：0.4-62000mg/L

pH range：0-50℃

Pressure Resistance: Non-pressure-resistant

Temperature sensor：

Electrode mode: Single measurement electrode (requires reference electrode)

Shell material：PVC

Connecting thread：PG13.5

Cable length：5m or as agreed

Cable connector：S8 cable

Order number

| Name | Content | Number |
| --- | --- | --- |
| Temperature sensor | None | N0 |
| Cable length(S8) | 5m | m5 |
|  | 10m | m10 |
|  | 15m | m15 |
|  | 20m | m20 |
| Cable connector | Tinned | A1 |
|  | Fork Terminal | A2 |
|  | Straight Pin Header | A3 |
|  | BNC | A4 |