T9048 Multi-parameter Online Water Quality Monitor

- Typical Applications

- For online monitoring of water supply outlet, pipeline water quality, secondary water supply in residential areas, and water treatment effluent.

- Parameter range:

| - order | - factor | - measuring range | - certainty of measurement |
| --- | --- | --- | --- |
| - 1 | - pH | - 0.01～14.00pH | - ±0.05pH |
| - 2 | - ORP | - -1000～＋1000mV | - ±3mV |
| - 3 | - TDS | - 0.01～2000mg/L | - ±1%F.S |
| - 4 | - conductivity | - 0.01～200.0～2000μs/cm | - ±1%F.S |
| - 5 | - turbidity | - 0.01～100.0NTU | - ±1%F.S |
| - 6 | - suspended matter | - 0.01～200.0mg/L | - ±1%F.S |
| - 7 | - DPD residual chlorine | - 0.01～5.00mg/L | - ±1%F.S |
| - 8 | - Total chlorine in DPD | - 0.01～5.00mg/L | - ±1%F.S |
| - 9 | - temperature | - 0.1～60.0℃ | - ±0.3℃ |
| - 10 | - signal output | - RS485 MODBUS RTU for Bus 1 |  |
| - 11 | - Control output | - 3-channel relay output |  |
| - 12 | - history | - have |  |
| - 13 | - Historical curve | - have |  |
| - 14 | - 4G long-distance transmission | - Yes, optional |  |
| - 15 | - way to install | - Wall-mounted |  |
| - 16 | - Water-like connection | - Fast inlet/outlet card |  |
| - 17 | - Water-like temperature | - 5～40℃ |  |
| - 18 | - Water-like flow velocity | - 200～600mL/min |  |
| - 19 | - levels of protection | - IP65 |  |
| - 20 | - Power Supply Voltage | - 100～240VAC or 24VDC |  |
| - 21 | - plant capacity | - About 30W |  |
| - 22 | - instruments weight | - Approximately 35KG |  |
| - 23 | - Instrument size | - Height 700 mm * Width 450 mm * Depth 285 mm |  |